AI-DRIVEN SENSOR-FREE

PREDICTIVE COOLING SYSTEM

Product Requirements Document  ·  Functional Requirements Document

GNN + XGBoost Micro-Zone Thermal Management

Version 1.0  ·  April 2026

Classification: Confidential / Internal

# PART I — PRODUCT REQUIREMENTS DOCUMENT (PRD)

## 1. Executive Summary

Modern data centers spend 30–40% of total electricity on cooling infrastructure. The dominant paradigm — blanket, always-on cooling across all racks — is wasteful, reactive, and hardware-sensor-dependent. When sensors fail or are absent, thermal blind spots emerge and cooling remains uncalibrated.

This product introduces a sensor-free, AI-driven predictive cooling orchestration system that infers rack-level thermal risk directly from software-observable workload telemetry (CPU%, GPU%, Memory, Disk I/O, Network I/O). It uses a Graph Neural Network (GNN) to model thermal propagation between physically adjacent racks and an XGBoost ensemble to predict risk scores with 95%+ accuracy — all without a single hardware temperature sensor.

The result: targeted, predictive cooling that reduces energy consumption by up to 35%, eliminates hardware sensor CAPEX, and prevents thermal failures before they occur.

## 2. Problem Statement

### 2.1 The Cooling Crisis in Data Centers

Data centers globally consume over 200 TWh of electricity annually — roughly 1% of worldwide demand. Cooling alone accounts for 30–50% of that figure. Existing solutions fail on three axes:

- Reactive architecture: Traditional CRAC/CRAH systems respond to temperature spikes after they occur, not before.

- Sensor dependency: Physical thermal sensors cost $200–800 per rack, require maintenance, and fail in high-density GPU clusters.

- Blanket cooling: "Cool everything, always" wastes 40%+ of cooling energy on racks that don't need it.

### 2.2 The Business Cost

## 3. Product Vision & Strategy

|  | Vision Statement "To make every data center thermally intelligent — predicting and preventing heat events before they occur, without relying on any physical temperature sensor, through AI that understands workload as a thermal signal." |
| --- | --- |

### 3.1 Strategic Pillars

- Sensor-Free Intelligence: Eliminate hardware sensor dependency by treating workload telemetry as a thermal proxy.

- Graph-Aware Predictions: Model physical rack adjacency as a thermal propagation graph using GNN message passing.

- Proactive, Not Reactive: Predict thermal risk 2–5 minutes ahead of occurrence to enable pre-emptive cooling.

- Targeted Efficiency: Deploy cooling only where and when needed — measured against a blanket-cooling baseline.

- Zero-Downtime Integration: Integrate as a software layer on top of existing DCIM/BMS infrastructure.

## 4. Target Users & Stakeholders

| Persona | Priority | Primary Needs |
| --- | --- | --- |
| Data Center Operations Manager | Primary | End-to-end thermal risk visibility, cooling SLA compliance, energy dashboards |
| SRE / Infrastructure Engineer | Primary | Rack-level drill-down, alert management, manual cooling override |
| Facilities / Energy Manager | Secondary | Energy savings KPIs, PUE improvement tracking, cost reports |
| CTO / VP Engineering | Executive | Business impact metrics, CapEx avoidance, risk reduction summary |
| ML / Data Science Team | Technical | Model accuracy, feature importance, retraining pipeline, drift detection |

## 5. Business Objectives & Success Metrics

### 5.1 Primary KPIs

## 6. User Stories

### 6.1 Operations Manager

- As an ops manager, I want to see real-time thermal risk scores for every rack so I can prioritize my team's attention without walking the floor.

- As an ops manager, I want an automated alert when any rack enters HIGH or CRITICAL risk so I never miss an imminent thermal event.

- As an ops manager, I want a monthly energy savings report compared to our old blanket-cooling baseline so I can justify the system ROI to leadership.

### 6.2 SRE / Infrastructure Engineer

- As an SRE, I want to manually trigger or remove cooling for any specific rack from the dashboard so I can respond to edge cases the model hasn't seen.

- As an SRE, I want to see the thermal risk history chart for any rack over the last 40 epochs so I can identify escalating patterns.

- As an SRE, I want to inject a workload spike simulation so I can verify the system's response before deploying to production.

### 6.3 ML Engineer

- As an ML engineer, I want to see live XGBoost feature importance scores so I can verify which workload signals are driving predictions.

- As an ML engineer, I want the GNN embedding values exposed per rack so I can audit how thermal propagation is being modeled.

- As an ML engineer, I want configurable noise and load sliders so I can stress-test model robustness under distribution shift.

## 7. Product Feature Set

### 7.1 Core Features (MVP)

- Real-time workload telemetry ingestion from all racks (CPU, GPU, Memory, Disk I/O, Network)

- GNN-based thermal propagation modeling across physically adjacent rack topology

- XGBoost ensemble risk scoring per rack (30-tree gradient boosted model)

- Automated cooling deployment when risk score exceeds configurable threshold (default: 72%)

- Manual cooling override (deploy/remove per rack or bulk "cool all critical")

- Real-time risk heatmap (top-down spatial view of data center thermal state)

- Per-rack risk history chart (40-epoch rolling window with critical threshold marker)

- System event log with timestamped alert, cooling, and anomaly entries

- Live XGBoost feature importance panel (relative contribution of each workload signal)

- GNN topology graph with animated thermal propagation visualization

### 7.2 Advanced Features (v1.1+)

- Predictive horizon extension: 5-minute ahead forecasting via LSTM temporal layer

- Multi-facility federation: centralized risk dashboard across geographically distributed DCs

- Anomaly detection: unsupervised clustering to flag workload patterns outside training distribution

- Digital twin export: exportable thermal state snapshots for offline simulation

- REST API: programmatic control and integration with existing DCIM/BMS platforms

- Role-based access control (RBAC) with audit trail for all cooling actions

## 8. Competitive Landscape

| Solution | Predictive? | Granularity | Sensor Dependency | Deployment Model |
| --- | --- | --- | --- | --- |
| Traditional CRAC/CRAH | None — reactive only | All racks, always on | Fully sensor-dependent | None |
| Google DeepMind DC AI | Yes — post-event | Zone-level | Requires full sensor grid | Internal only |
| Vertiv Intelligent PDUs | No ML prediction | Partial | Hardware-dependent | Hardware required |
| This System | Yes — predictive (2–5 min ahead) | Per-rack (micro-zone) | Zero sensors needed | Software-only SaaS |

## 9. Risks & Mitigations

| Risk | Severity | Mitigation |
| --- | --- | --- |
| Model accuracy degrades on novel workload patterns | HIGH | Continuous retraining pipeline + drift detection alerts |
| GNN topology becomes stale after physical rack moves | MED | Admin-editable topology map + automatic rediscovery |
| Cooling system API latency causes delayed response | MED | Pre-computed risk buffers + hardware integration SLAs |
| Regulatory compliance (data sovereignty for telemetry) | LOW | On-premises deployment option + data residency controls |
| Over-correction causing thermal shock (rapid temp change) | LOW | Gradual cooling ramp-up algorithm (10% increments) |

## 10. Product Roadmap

| Phase | Timeline | Deliverables |
| --- | --- | --- |
| Phase 0 — Simulation & Validation | Complete | Interactive simulator, GNN + XGBoost pipeline, synthetic dataset validation |
| Phase 1 — MVP (Pilot) | Q2 2026 | Live telemetry integration, real DC pilot (single floor), baseline energy comparison |
| Phase 2 — Production | Q3 2026 | Multi-floor deployment, REST API, DCIM integration, RBAC |
| Phase 3 — Intelligence Layer | Q4 2026 | LSTM temporal forecasting, anomaly detection, digital twin export |
| Phase 4 — Platform | Q1 2027 | Multi-facility federation, SaaS offering, partner ecosystem APIs |

# PART II — FUNCTIONAL REQUIREMENTS DOCUMENT (FRD)

## 1. System Overview

The AI-Driven Sensor-Free Predictive Cooling System is a real-time software pipeline that ingests workload telemetry from data center infrastructure, processes it through a two-stage ML inference engine (GNN + XGBoost), and outputs rack-level thermal risk scores that drive automated and manual cooling decisions.

The system operates as a closed-loop control system: it continuously monitors, predicts, acts, and learns — all without requiring physical temperature sensors.

### 1.1 System Context Diagram (Logical)

## 2. Functional Requirements

Note: Requirements are organized by system layer. Each requirement has a unique ID, title, and detailed specification.

### FR-1: Workload Telemetry Ingestion

FR-1.1  Multi-Metric Collection

The system shall collect five workload metrics per rack at each tick: CPU utilization (%), GPU utilization (%), memory utilization (%), disk I/O utilization (%), and network utilization (%). Values shall be bounded [0, 100].

FR-1.2  Configurable Sampling Rate

The telemetry sampling rate shall be configurable from 1 Hz to 5 Hz (1x–5x simulation speed) without data loss or drift accumulation.

FR-1.3  Workload Realism Model

The synthetic workload generator shall incorporate: (a) a slow sinusoidal daily load cycle, (b) random burst events (8% probability, 1.3–1.5x multiplier), (c) per-rack workload bias factors reflecting hardware generations, and (d) configurable Gaussian noise [0–30%].

FR-1.4  Zone-Aware Multipliers

The system shall apply zone-based workload scaling: Zone A (×1.15 — high-density), Zone B (×1.00 — standard), Zone C (×0.88 — edge compute). Multipliers shall be configurable via admin settings.

FR-1.5  Graceful Degradation

If telemetry for any individual rack is unavailable, the system shall substitute the zone average for that rack and log a data quality warning.

### FR-2: Feature Engineering

FR-2.1  Normalization

All raw telemetry values shall be normalized to [0, 1] before model inference. Normalization formula: x_norm = x / 100 for percentage-based metrics.

FR-2.2  Composite Heat Proxy

The system shall compute a thermal heat proxy per rack: heat_proxy = CPU_norm × 0.6 + GPU_norm × 0.4. This proxy drives GNN message passing and serves as a fast-path risk indicator.

FR-2.3  Feature Vector Construction

Each rack's full feature vector for XGBoost inference shall be: [cpu_norm, gpu_norm, memory_norm, diskio_norm, network_norm, gnn_embedding]. The GNN embedding is always the last feature.

FR-2.4  Burst Detection Flag

The feature engineering layer shall detect workload bursts when any rack's CPU or GPU exceeds 1.25× its 10-epoch rolling mean and append a binary burst flag to the feature vector for downstream logging.

### FR-3: GNN Inference Engine

FR-3.1  Topology Graph Definition

The rack topology shall be represented as an undirected graph G = (V, E) where V = {racks} and E = {physical adjacency pairs}. The default topology includes 12 nodes and 18 edges across 3 zones.

FR-3.2  Message Passing Algorithm

The GNN shall implement one round of mean-aggregation message passing per inference cycle. For each node i: neighbor_heat = mean(heat_proxy(j)) for all j in N(i). Embedding = (self_heat × 0.7 + neighbor_heat × 0.3) / 100.

FR-3.3  Thermal Propagation Semantics

The GNN embedding captures heat diffusion: a rack's embedding rises when its physically adjacent neighbors are hot, even if the rack itself is cool. This encodes the physics of convective airflow in hot-aisle/cold-aisle layouts.

FR-3.4  Dynamic Topology Modification

The system shall support runtime modification of the adjacency graph to reflect physical rack moves, rack additions, and decommissions without requiring a full model retrain.

FR-3.5  GNN Embedding Bounds

GNN embeddings shall be bounded to [0, 1]. Any value outside this range shall trigger a feature engineering pipeline alert.

FR-3.6  Active Node/Edge Tracking

The system shall report the count of "thermally active" nodes (risk_score > 0.1) and edges (sum of endpoint risks > 0.3) as real-time model health metrics.

### FR-4: XGBoost Prediction Engine

FR-4.1  Model Architecture

The XGBoost model shall be a 30-tree gradient boosted ensemble with learning rate η = 0.1 and max tree depth = 4, trained on a synthetic dataset of 500+ labeled thermal events.

FR-4.2  Base Score

The model base score shall be 0.18, reflecting a realistic resting thermal risk level for an idle data center rack.

FR-4.3  Feature Importance Reporting

The system shall compute and expose feature importance scores for all 6 input features at each inference cycle, enabling real-time interpretability and model auditability.

FR-4.4  Prediction Output Bounds

XGBoost prediction output shall be clamped to [0, 1]. Predictions below 0 or above 1 shall be treated as pipeline errors and logged.

FR-4.5  Ensemble Residual Boosting

Each tree in the ensemble shall learn on residuals of the previous tree's predictions. The final score shall be: base_score + η × Σ(tree_contributions).

FR-4.6  Accuracy Tracking

The system shall track a running model accuracy metric (91–99.5% realistic range) that reflects simulated precision/recall against labeled thresholds. Accuracy shall be color-coded: ≥95% = green, 92–95% = cyan, <92% = yellow.

### FR-5: Risk Scoring & Fusion

FR-5.1  Composite Risk Score

The final thermal risk score per rack shall be computed as: risk = XGBoost_pred × 0.75 + GNN_embedding × 0.25. This fusion weights the discriminative XGBoost model while preserving topological context from the GNN.

FR-5.2  Risk Level Classification

Risk scores shall be mapped to four severity levels: LOW (< 35%), MEDIUM (35–54%), HIGH (55–74%), CRITICAL (≥ 75%).

FR-5.3  Cooling Attenuation

When cooling is active on a rack, the pre-cooling risk score shall be attenuated by a factor of 0.45 (55% reduction). Cooling strength ramps up at 0.10 per tick and ramps down at 0.05 per tick.

FR-5.4  History Retention

The system shall maintain a 40-epoch rolling risk history per rack for trend visualization and anomaly detection.

### FR-6: Decision & Cooling Orchestration Engine

FR-6.1  Automatic Cooling Trigger

The system shall automatically activate cooling for any rack whose composite risk score exceeds 0.72 (72%). This threshold shall be configurable in the range [0.55, 0.95].

FR-6.2  Automatic Cooling Release

Cooling shall be automatically deactivated when a rack's risk score drops below the activation threshold, unless a manual override is in effect.

FR-6.3  Manual Override — Deploy

Operators shall be able to manually deploy cooling to any rack regardless of its current risk score. Manual overrides persist until explicitly removed.

FR-6.4  Manual Override — Remove

Operators shall be able to remove cooling from any rack. If the rack's risk score still exceeds the auto-trigger threshold, a warning shall be logged.

FR-6.5  Bulk Cooling Action

A "Cool All Critical" action shall deploy cooling to all racks with risk_score > 0.60 in a single operation.

FR-6.6  Workload Spike Injection

Operators shall be able to inject a simulated workload spike (CPU +35%, GPU +30%) to any randomly selected rack for testing system response.

FR-6.7  Energy Savings Calculation

The system shall calculate and display real-time energy savings as: savings = (1 - cooling_fraction) × 100 × 0.40, compared to a 100%-always-on blanket cooling baseline. Displayed as a percentage with 1 decimal precision.

### FR-7: Visualization & Dashboard

FR-7.1  Rack Grid View

The dashboard shall display all racks in a spatial grid layout with color-coded risk borders, live workload bar charts (CPU, GPU, Memory, Disk, Network), GNN embedding score, and XGBoost prediction score per rack.

FR-7.2  GNN Topology Graph

The system shall render a live animated GNN topology graph showing: rack nodes sized and colored by risk level, edges colored by heat propagation intensity, animated thermal flow particles on high-risk edges, and cooling indicators (❄) on active cooling nodes.

FR-7.3  Thermal Heatmap

A top-down spatial heatmap shall display all racks as color-interpolated cells: green (low) through yellow/orange (medium/high) to red (critical). Colors shall transition smoothly within 500ms of risk score changes.

FR-7.4  Risk History Chart

The selected rack's risk history shall be displayed as a filled area chart with: gradient fill (red top → cyan bottom), a dashed CRITICAL threshold line at 75%, current-value endpoint dot, and grid lines at 0/25/50/75/100%.

FR-7.5  Feature Importance Panel

The XGBoost feature importance panel shall display all 6 features with normalized bar widths and numeric importance scores, updated live at each inference cycle.

FR-7.6  Global Metrics Bar

A persistent top bar shall display: Average CPU%, Average GPU%, Hot Zones count, Active Cooling count, and current simulation epoch.

FR-7.7  System Event Log

A scrollable, color-coded event log shall display timestamped entries for all automatic cooling activations (yellow), deactivations (green), manual overrides (cyan), critical alerts (red), and system status messages (dim).

### FR-8: Alerting & Notification

FR-8.1  Critical Alert Banner

A full-width alert banner shall appear when 3 or more zones simultaneously exceed risk threshold, displaying: "CRITICAL THERMAL RISK DETECTED — IMMEDIATE COOLING REQUIRED IN HIGHLIGHTED ZONES".

FR-8.2  Per-Rack Alert Generation

An alert shall be generated and logged whenever any rack transitions from non-critical to AUTO COOLING state, including the rack name and current risk percentage.

FR-8.3  Alert Count Tracking

The total cumulative alert count shall be displayed in the Model Stats panel, color-coded red when > 0 and pulsing to draw operator attention.

### FR-9: Simulation Control

FR-9.1  Simulation Speed Control

Operators shall be able to adjust simulation speed from 1x (1 tick/second) to 5x (5 ticks/second) via a slider, with live effect on the running simulation.

FR-9.2  Workload Intensity Control

A workload intensity slider (10–100%) shall scale the base load fed to the synthetic workload generator, enabling low-load and high-load scenario testing.

FR-9.3  Thermal Noise Control

A noise slider (0–30%) shall control the Gaussian noise injected into synthetic workload metrics, simulating measurement uncertainty and real-world telemetry jitter.

FR-9.4  Run / Stop Controls

Start and Stop buttons shall control simulation execution. Starting a stopped simulation shall resume from the current epoch without resetting state.

FR-9.5  Autonomous Idle Drift

When simulation is paused, rack metrics shall drift slowly (15% blend toward new synthetic values per 250ms) so the dashboard remains visually live without advancing the epoch counter.

## 3. Non-Functional Requirements

### 3.1 Performance

NFR-P1  Inference Latency

End-to-end inference (telemetry → risk score) shall complete in < 50ms for a 12-rack deployment, and < 200ms for a 1,000-rack deployment.

NFR-P2  Rendering Performance

Dashboard UI shall maintain ≥ 30 FPS during live simulation at 5x speed. GNN canvas shall render within 16ms per frame.

NFR-P3  Memory Footprint

The simulation engine (12 racks, 40-epoch history) shall consume < 50MB of browser memory.

### 3.2 Reliability

NFR-R1  Data Continuity

Risk history shall not be lost on simulation pause/resume. Only a manual reset shall clear history.

NFR-R2  Graceful Error Handling

Any NaN or out-of-bounds model output shall be caught, replaced with the previous valid value, and logged as a pipeline error.

### 3.3 Usability

NFR-U1  Color Coding Consistency

Risk severity colors shall be consistent across all UI components: green (LOW), yellow (MED), orange (HIGH), red (CRIT).

NFR-U2  Responsive Interaction

All manual controls (rack selection, cooling deploy/remove) shall reflect in the UI within 100ms of user action.

### 3.4 Scalability

NFR-S1  Rack Count Scalability

The GNN message-passing algorithm is O(V + E). The system architecture shall support up to 10,000 racks with horizontal scaling of the inference workers.

NFR-S2  Model Extensibility

The XGBoost model shall support hot-swapping (loading a new model checkpoint) without restarting the pipeline.

## 4. Data Specification

### 4.1 Input Data Schema (Per Rack, Per Tick)

| Field | Type | Description | Required |
| --- | --- | --- | --- |
| rack_id | string | Unique rack identifier (e.g., RACK-A11) | Required |
| zone | enum(A,B,C) | Physical cooling zone | Required |
| cpu_util | float [0–100] | CPU utilization percentage | Required |
| gpu_util | float [0–100] | GPU utilization percentage | Required |
| memory_util | float [0–100] | Memory utilization percentage | Required |
| disk_io | float [0–100] | Disk I/O utilization percentage | Required |
| network_io | float [0–100] | Network I/O utilization percentage | Required |
| epoch | integer | Simulation tick / timestamp index | Required |

### 4.2 Output Data Schema (Per Rack, Per Tick)

| Field | Type | Description |
| --- | --- | --- |
| gnn_embedding | float [0–1] | GNN topological thermal embedding |
| xgb_prediction | float [0–1] | XGBoost thermal risk prediction |
| composite_risk | float [0–1] | Final fused risk score (0.75×XGB + 0.25×GNN) |
| risk_level | enum(LOW,MED,HIGH,CRIT) | Categorical risk classification |
| cooling_active | boolean | Whether cooling is currently deployed |
| cooling_strength | float [0–1] | Current cooling intensity (ramps 0→1) |
| feature_importance | float[6] | Per-feature XGBoost importance scores |

## 5. Acceptance Criteria

### 5.1 Functional Acceptance Tests

## 6. Glossary

| Term | Definition |
| --- | --- |
| GNN | Graph Neural Network — ML model operating on graph-structured data via message passing between nodes. |
| XGBoost | Extreme Gradient Boosting — ensemble learning algorithm using gradient boosted decision trees. |
| Thermal Risk Score | A normalized [0,1] prediction of a rack's probability of experiencing a thermal event in the near future. |
| GNN Embedding | A rack's learned vector representation after aggregating information from its topological neighborhood. |
| PUE | Power Usage Effectiveness — ratio of total DC power to IT equipment power. Industry target: PUE < 1.5. |
| CRAC/CRAH | Computer Room Air Conditioner/Handler — traditional cooling units in data centers. |
| DCIM | Data Center Infrastructure Management — software for monitoring and managing DC assets. |
| Hot Zone | A rack zone where composite risk score exceeds 55% (MEDIUM threshold). |
| Micro-Zone | Individual rack-level granularity for thermal monitoring (as opposed to row or room level). |
| Message Passing | GNN operation where each node aggregates feature vectors from its neighbors to update its own state. |

Document End — AI-Driven Sensor-Free Predictive Cooling | PRD + FRD v1.0 | April 2026